Supplementary Figures

Figure S1. Simultaneous peakshape scans of the CO2 mass peaks on a) the MAT 253, and b) the Nu Perspective-1. The Nu Perspective-1 scans have been converted to mV so that the scans are immediately comparable. The older generation MAT 253 shows negative going baselines, most readily seen on the m/z = 44 scan, that is not present in the Nu Perspective-1. The flatter baselines of the Nu Perspectives allow for larger and more stable intensities of the higher masses (m/z = 47-49) to be recorded.

Figure S2. Density curves for Δ47 values measured from the anchor standards ETH-1 and ETH-2, and non-anchor standards ETH-4 and Veinstrom on Nu-Perspective-1 (A-D), Nu-Perspective-2 (E-H), and MAT 253 (I-L). In all plots, dashed vertical lines indicate the mean using a 3σ cutoff (purple) and 5σ cutoff (blue); these lines are too close together to be visually distinguished and so the mean values are reported in text. A) ETH-1 on Nu-Perspective-1. If using a 3σ cutoff, final mean = 0.2066 ‰, SD = 0.025, N = 85. If using a 5σ cutoff, final mean = 0.2076 ‰, SD = 0.026, N = 86. B) ETH-2 on Nu-Perspective-1. Regardless of whether a 3σ or 5σ cutoff is used, final mean = 0.2081 ‰, SD = 0.020, N = 69. C) ETH-4 on Nu-Perspective-1. Regardless of whether a 3σ or 5σ cutoff is used, final mean = 0.4552 ‰, SD = 0.020, N = 64. D) Veinstrom on Nu-Perspective-1. Regardless of whether a 3σ or 5σ cutoff is used, final mean = 0.6365 ‰, SD = 0.026, N = 102. E) ETH-1 on Nu-Perspective-2. If using a 3σ cutoff, final mean = 0.2053 ‰, SD = 0.026, N = 402. If using a 5σ cutoff, final mean = 0.2055 ‰, SD = 0.026, N = 403. F) ETH-2 on Nu-Perspective-2. If using a 3σ cutoff, final mean = 0.2060 ‰, SD = 0.026, N = 386. If using a 5σ cutoff, final mean = 0.2065 ‰, SD = 0.028, N =390. G) ETH-4 on Nu-Perspective-2. If using a 3σ cutoff, final mean = 0.4411 ‰, SD = 0.026, N = 191. If using a 5σ cutoff, final mean = 0.4420 ‰, SD = 0.027, N = 193. H) Veinstrom on Nu-Perspective-2. If using a 3σ cutoff, final mean = 0.6341 ‰, SD = 0.030, N = 322. If using a 5σ cutoff, final mean = 0.6338 ‰, SD = 0.030, N = 323. I) ETH-1 on MAT 253. Regardless of whether a 3σ or 5σ cutoff is used, final mean = 0.2063 ‰, SD = 0.020, N = 284. J) ETH-2 on MAT 253. If using a 3σ cutoff, final mean = 0.2066 ‰, SD = 0.024, N = 271. If using a 5σ cutoff, final mean = 0.2063 ‰, SD = 0.024, N = 272. K) ETH-4 on MAT 253. If using a 3σ cutoff, final mean = 0.4451 ‰, SD = 0.021, N = 208. If using a 5σ cutoff, final mean = 0.4448 ‰, SD = 0.021, N = 209. L) Veinstrom on MAT 253. If using a 3σ cutoff, final mean = 0.6315 ‰, SD = 0.022, N = 304. If using a 5σ cutoff, final mean = 0.6318 ‰, SD = 0.023, N = 305.

Figure S3. Final density distributions of the standards ETH-1, ETH-2, ETH-3, ETH-4, TV03, and Veinstrom, measured on multiple instrument configurations for Δ47 I-CDES values (A-F) and Δ48 values (G-L). We found no statistically significant differences in final values for each of the standards between any of the configurations. Δ48 CDES 90 values from MAT 253 are provided for informational purposes only and were not included in analyses. A) Δ47 values for ETH-1 on Nu Perspective-1, Nu Perspective-2, and MAT 253. B) Δ47 values for ETH-2 on Nu Perspective-1, Nu Perspective-2, and MAT 253. C) Δ47 values for ETH-3 on Nu Perspective-1, Nu Perspective-2, and MAT 253. D) Δ47 values for ETH-4 on Nu Perspective-1, Nu Perspective-2, and MAT 253. E) Δ47 I-CDES values for TV03 on Nu Perspective-1, and MAT 253. F) Δ47 values for Veinstrom on Nu Perspective-1, Nu Perspective-2, and MAT 253.  G) Δ48 values for ETH-1 on Nu Perspective-1, Nu Perspective-2, Nu Perspective-EG and MAT 253. H) Δ48 CDES 90 values for ETH-2 on Nu Perspective-1, Nu Perspective-2, Nu Perspective-EG and MAT 253. I) Δ48 values for ETH-3 on Nu Perspective-1, Nu Perspective-2, Nu Perspective-EG and MAT 253. J) Δ48 values for ETH-4 on Nu Perspective-1, Nu Perspective-2, Nu Perspective-EG and MAT 253. K) Δ48 values for TV03 on Nu Perspective-1, Nu Perspective-EG and MAT 253. J) Δ48 values for Veinstrom on Nu Perspective-1, Nu Perspective-2, Nu Perspective-EG and MAT 253.